Server operation overview

# Typical system

A typical installed 200 Series system consists of a number of S200 (and possibly P100) devices, each of which stores measurements in a database on the device and also typically synchronises those measurements to a remote server. The 200 Series server software is then used to view and analyse measurements on the external server, and to control the devices remotely:

