CAUTION: Refer to this manual before using the Faraday P100 Series unit.

HAZARDOUS VOLTAGE: Risk of electric shock if safety measures specified in this document are not considered.

Other Equipment Markings:

~ Equipment intended for Alternating Current (AC) only.

3~ Equipment intended for Alternating Current (AC) only, and to be connected to three phase systems.

**EU Customers:** At the end of the product life cycle, Faraday P100 unit must be disposed of according to local laws and regulations.

**CE Compliance:** This product meets the essential requirements of applicable European Directives, as follows:

* 2014/35/EU; Low-Voltage Directive (safety)
* 2014/30/EU; Electromagnetic Compatibility Directive (EMC)
* 2011/65/EU; Restriction of Hazardous Substances (RoHS)